## Table 1
POLY FILM PLANT AT NARELA, NEW DELHI
BOQ - ABSTRACT
Item No | Item Description | Unit | Total Unit Price (in INR) | Total Amount (In INR) excl. GST
1 | EARTH WORK
1.01 | Excavation in all types of soil, including murrum, for foundations of wall, columns, plinth beams, basement, raft, ducts, trenches, underground sumps, septic tanks, soak well, manhole chambers, gully chambers, including shoring, strutting, bailing out water/pumping off water if required, re-filling the trenches, foundation pits, ramming, watering consolidating in 15 cms to 20 cms layers, removing and stacking simultaneously the excavated stuff any where within the site area and/or spreading soils in layers for site development filling in plinth in the same building and consolidating etc. complete as directed. From existing ground level to - up to 1.5 m depth | Cu.M | 3500
1.02 | Earthwork in excavation in all types of soil including as per item no.1.01 but for depth exceeding 1.5 m, but up to 3.0 m | Cu.M | 2600
1.03 | Earthwork in excavation in all types of soil including as per item no.1.01 but for depth exceeding 3.0 m, but up to 4.5m. | Cu.M | 30
1.06 | Filling in plinth with selected excavated earth available within site, in layers of 30 cms. to 45 cms. Including watering, ramming and compacting manually or using mechanical plate compactor / vibro-roller etc., including cost of transportation anywhere within site complete as directed. | Cu.M | 1200
1.07 | Filling excavated earth in ground other than plinth, for land development etc. with in the site, to required level, spreading in layers of 30 cms. to 60 cms., watering, ramming, consolidating etc., including cost of transportation anywhere within site complete as directed. | Cu.M | 700
1.08 | Providing and filling in plinth , in ground for road works etc. as directed at item no. 1.06 and 1.07 respectively but with selected earth brought from outside site, including freight, transportation, loading, unloading, screening filling, watering, consolidating with mechanical compactor / vibro roller / power roller (for roads & pavements) etc. complete as directed. | Cu.M | 5000
1.09 | Providing and filling approved local sand in trenches, plinth, under sub base surrounding areas including watering and consolidation, transportation, loading, unloading, spreading etc. complete as directed. | Cu.M | 200
1.1 | Providing and laying Rubble Stone soling consolidated thickness of 200 mm using good quality of angular or breaking from boulders rubble stone brought from outside laid vertically and handset & intrestices filled with smaller chips, blinded with murrum / approved earth / stone dust etc. including watering consolidating with mechanical plate compactor and finish to correct level as directed & as per specification (for huge floor area VIBRO ROLLER 8-10 T should be use for compaction) | Cu.M | 2300
1.14 | Providing & filling dry brick bats with half bricks or average 40 to 65 mm thickness in required uniform size or graded, at any depth in layers, levelling, grading etc complete as directed. | Cu.M | 50
1.16 | Carting away the excavated surplus earth / debris etc. out side of the site including loading at site, transportation, unloading, spreading etc complete as directed. (Maximum lead 1.5 Kms). | Cu.M | 300
1.17 | Supplying the chemicals & carrying out pre-construction Anti-termite treatment With chlorpyriphos E.C. 20% / Lindane /Imidacloprid 30.5% SC / or approved with 1 % concentration at the various stages of construction as recommended by the chemical manufacturer to safeguard the building against termite including execution and submission of guarantee for a period of 10 years against any subterranean pests infestation. This work is to be got executed through Pest Control (India) Ltd as per their specifications. (Measurement shall be as per outer plan dimension at plinth level of building treated) Stages of treatment: 1st stage Foundation Trench / pit 2nd Stage treatementof the top surface of the plinth filling before subgrade is laid to the floor 3rd Stage treatement of the wall and juncation of the floor 4th stage tretement of the soil along external perimeter of the building | Sq.M | 4700
1.2 | Providing and spreading in plinth in the required level, stone quarry dust having maximum size of the dust aggregate not more than 4mm and similar stone used for the concrete elements including all freight, transportation, loading, unloading, screening filling, consolidating with mechanical compactor / vibro roller / power roller etc complete as directed. | Cu.M | 100
TOTAL FOR EARTH WORK
2 | CONCRETE
2.03 | Providing and laying machine mixed Plain Cement concrete (PCC) in volumetric proportion 1:4:8 (1 part of cement:4 part coarse sand:8 part stone aggregates of size 37 mm and down) for specified thickness, for foundations below walls, column footings, sunk floor terraces at any height above plinth level raft at any depth below floors, pavements roads, plinth protection, etc. including centring and shuttering if required, laying spreading, ramming, consolidating as per requirement and curing etc. complete as directed. | Cu.M | 1150
2.04 | -Do- as per item No.2.03 but for providing and laying plain cement concrete (PCC) 1:3:6 with 1 part of cement: 3 parts of coarse sand: 6 parts of stone aggregate of size 37 mm and downgraded complete as directed. | Cu.M | 55
2.08 | Providing & laying in position machine mixed and machine vibrated cement concrete of controlled grades (Either through RMC or Mini Baching Plant or External source) for reinforced cement concrete structural elements in any shape, size, thickness or depth and design viz. foundations, columns, beams, slabs, raft, floor plinth beams, plinth beam ledges, window sills, copings, thin band beams, walls parapets boxes, folded plates, chajjas, mullions, retaining walls, fins, staircases, overhead and underground water and other fluid tanks, statically loaded foundation rafts/floor, water troughs, manhole slab, septic tank slab, soak well slab etc. its concrete elements in any shape, size, thickness/depth and design as per structural design and as directed in specified compressive strength compressed in N/mm2 at 28 days as per IS 456-2000 using 20 mm or as specified size of crushed stone aggregates design of concrete mixes, auto weigh batched proportioning, cost of admixtures, necessary lift and lead including puming where ever required as specified, finishing concrete surfaces, curing etc. complete but excluding centring/shuttering and reinforce-ment. The conversion of weigh batching to equivalent volumetric one, if permitted, should be got approved from Engineer before execution. For concrete grade M- 20 at all levels below and up to highest plinth level. | Cu.M | 50
2.09 | Do- as per item No.2.08 but for providing and laying cement concrete of grade M- 25 for RCC structures below and up to highest plinth level. | Cu.M | 2850
2.1 | Do- as per item No.2.08 but for providing and laying cement concrete of grade M- 30 for RCC structures below and up to highest plinth level. | Cu.M | 10
2.13 | Do- as per item 2.08 but for providing and laying cement concrete of grade M-25 for RCC structures up to 7.5m from the highest plinth level | Cu.M | 340
2.14 | Do- as per item 2.08 but for providing and laying cement concrete of grade M-30 for RCC structures up to 7.5m from the highest plint level | Cu.M | 10
2.16 | Do- as per item 2.08 but for providing and laying cement concrete of grade M-25 for RCC structures From 7.5m up to 13m from the highest plinth level | Cu.M | 1300
2.17(b) | Do- as per item 2.08 but for providing and laying cement concrete of grade M-25 for RCC structures above13m from the highest plinth level | Cu.M | 800
2.18 | Providing and laying machine mixed, machine vibrated in controlled cement concrete of grade M-25 with 20 mm and down grade aggregates for machine / equipment foundation of any shape, size & design; including necessary centring / shuttering, providing and making necessary pockets of required size and shape (by providing moulds of required shape & size), fixing insert plates / pipes etc. in line, level and plumb complete as per drawing and grouting the same with cement concrete of richer mix and finishing, curing but excluding reinforcement steel etc. complete as directed. | Cu.M | 50
2.19 | Providing and fixing Precast concrete slab perforated type for shelves, ledges, trench / pit / chamber covers/gutter covers ( 50 to 150 mm thick )etc. as per drawing in controlled concrete of grade M-20 , to cast, cure, hoisting, fixing in position including necessary form work ( providing exposed concrete finish for visible faces ), grouting holes / grooves, inserts, projections, providing and fixing lifting hooks using MS rounds etc. grouting and pointing of joints finishing neat etc. complete but excluding reinforce-ment steel etc complete as per the drawing and as directed. | Cu.M | 5
2.2 | Providing and erecting in position form work shuttering & boxing using steel/plywood shuttering materials of approved quality for concrete elements vertical, horizontal, inclined, circular, curved etc. in all sizes, shapes and designs as per drawing including necessary staging at all intermediate levels, scaffolding, bolts/nuts, fastener nails, wires for keeping in position till concrete is laid and members have acquired required strength, removal thereafter, applying shuttering oil etc. complete as directed. At all levels below ground level and up to highest plinth level for all concrete elements of any shape, size & direction etc complete as directed. | Sq.M | 2660
2.21 | Do – as per item no. 2.20 but for providing and erecting in position Form Work in superstructure up to 7.5 M above highest plinth level for concrete elements of any shape, size and direction etc. complete as directed. | Sq.M | 8000
2.21(a) | Do – as per item no. 2.20 but for providing and erecting in position Form Work in superstructure from 7.5 M up to 13 M above highest plinth level for concrete elements of any shape, size and direction etc. complete as directed. | Sq.M | 7700
2.21(b) | Do – as per item no. 2.20 but for providing and erecting in position Form Work in superstructure above 13 M above highest plinth level for concrete elements of any shape, size and direction etc. complete as directed. | Sq.M | 200
2.34 | Providing, fabricating and fixing in position reinforcement steel for RCC structures as per design including transporting, unloading and incidental charges for handling cutting, bending, and binding with two strands of annealed steel wire of 18 gauge, welding if necessary etc. complete as directed. With high strength deformed steel bars confirming to IS 1786, / high Strength CTD bars of minimum grade Fe 500 / TMT bars of approved make etc. for all heights below and above plinth level, etc complete as directed. Basic rate of reinforcement including loading /unloadinng at site is Rs. 65000/- per MT | Kg | 645000
2.35 | Providing and Grouting the foundation bolts/pockets, base plates with ACC Shrinkkomp grade-2 (40N/mm2)/ GP2 of FOSROC or FLOWGROUT 60 of FAIRMATE ready mixed non shrink, free flow, self levelling, cementitious grout making holes if necessary in concrete, curing etc. as per the recommendations of the manufacturer, complete as directed. | Cu.M | 2
2.36 | Providing and placing in position at all levels in horizontal plane bitumen impregnated fiber joint filler board of approved make like shalitex or equivalent in expansion joints as per detailed drawings and specifications, complete as directed. 25 mm thick size. | Sq.M | 250
TOTAL FOR THE CONCRETE WORK
3 | MASONRY WORK
3.01 | Providing and constructing brick masonry in any shape in Cement Mortar (CM) 1:6 (1 part cement and 6 part coarse sand) in all works with approved quality bricks having minimum crushing strength 35 Kg./Sq.cm including all necessary scaffolding, racking out the joints, curing etc. complete as directed. In foundation at all levels below and up to highest plinth level. | Cu.M | 60
3.02 | Do- as per item No.3.01 but for providing and constructing Brick masonry in superstructure at all heights above highest plinth level.
3.02a | do - as above from plinth level to 7.5 m height. | Cu.M | 340
3.02b | do - as above from 7.5 m height to 13.0 m height | Cu.M | 400
3.02c | do - as above from 13.0 m height to 18.0 m height in super structure | Cu.M | 65
3.02d | - do - as above 18.0 m all ht. above it height in super structure
3.05 | Providing and constructing 115 mm thick brick masonry in partition with approved quality bricks having minimum crushing strength 35 Kg./Sq.cm, at all levels in CM 1:4 (1 part cement and 4 part coarse sand) including scaffolding, racking out joints, reinforcement of 2 Nos. 6 mm dia bars at every fourth course or 25 mm x 1.2 mm iron hoop in every 3rd course, curing, etc. complete as directed. (Rate includes the cost of MS bars or iron hoop). | SQM | 50
3.17 | Providing and constructing honey comb brick work of specified thickness as per details with the specification same as item no. 3.01 including making honey combing etc. Complete as specified by engineer-in-charge. No deduction shall be made for honey combings. Also nothing extra shall be paid for making honey combing. | CUM | 30
TOTAL FOR BRICK WORK
4 | WOOD and ALUMINIUM WORK
Note | All the rates are inclusive of all materials labour , wastage necessary scaffolding for fabrication and errection at all places and at all height. Size of aluminium member shall be as per archetectural execution drawing. General 1. all aluminium section shall confirm to BIS IS 733 2. Providing and fixing at all height/all floors with all leads 25 micron SS anodized aluminium medium heavy section of sizes 100x44.5 styles and rails as per the drawings for the door/windows / vision panel /ventilators/glazing manufacture from best extruded aluminium medium heavy section from jindal or approved make confirming to IS, cut to length and corner joint mitered and grinded meachinically , making joint water proof , stffning of frame with corner angle cleat and rod, fixing of frame to RCC columns , beams, sills, lintel,masonary walls, floor, ms rough ground, by approved fastner as per the drawing and specifications,. Section should be provide with plastic section rapped on to the section to protect anodizing till the handing over of the project.
4.01 | Frame shall be fixed by using hilti Hrdught 10x140 x 70 mm approximate 2 nos. per three meter length for fixing the frame/ fisher screws/fastners, sealing the joint with plyurtherene backer rod of 10 mm dia. And nutral grade sealent of approved make and colour, at all sides/ perimeter. Rate shall be inclusive of wastage , all types of glass as per item of approved make and specified thickness, compact sheet of approved make and thickness, glazing clips, necessry epdm rubber gasket between glazing cleats and glass, compact sheet, etc. At all such places., ss screw, SDST bolts, fastners,ss hinges, pivots,baker rod, nutral grade silicon sealent, structural sealent of approved make and colour, three meter tap, all hardware like GI tie rod , heavy angle cleat 4mm thick, SS 304 grade/satin finish nickle plated SS heavy quaility pivots, cutting, fabrication, errection and fixing to the best workman ship manner, including all hardware and assosseries like dead lock of godrej or equvalent SS 304 handle of 25mm dia. and 300 mm long of approved make, SS die cast consealed tower bolt 375 mm long with gi extended rod 100 mm wide pvc door buffer, 100 mm SS satin finish baby latch with indication of occupancy of approved make, floor stoppers, all complete as per drawings, approved sample and direction of engineer incharge.Rate should be inclusinve of door frame and shutter styles. Providing and fixing in position alumiuium door frames using aluminium hollow section and aluminium door shutter with aluminium hollow section for top rail, lock rail, bottom rail, stype etc. As per drawing having 25 micron SS anodized section of minimum 2mm thickness of approved make as specified in drawing, specification and as approved sample. Door can be of single shutter, double shutter of equal and unequal sizes, fully glazed/fully paneled/partly glazed partly paneled with or without intermidiate horizontal and verticle member, double action pivoted / single action pivoted / hinged , with glazing clips ( If filler panel) or without glazing clips ( if flush glazed /panel door , with concelled aluminum box section of required size of having
4.01A | Providing and fixing partly fix and partly openable composite door shutter and fixed portion on sides and shutter shall be of 5mm toughen glass on top and bottom panel shall be 6 to 8 mm thick both side pre laminated exterior grade compact sheet of approved colour as per drawing. | Sq.M | 10
4.01 B | Providing & fixing sun control film of Garware or equivalent make | Sq.M | 50
4.01 C | PCGI Door work | Sq.M | 30
WINDOWS
4.02 | Frame shall be fixed by using hilti Hrdught 10x140 x 70 mm approximate 2 nos. per three meter length for fixing the frame/ fisher screws/fastners, sealing the joint with plyurtherene backer rod of 10 mm dia. And nutral grade sealent of approved make and colour, at all sides/ perimeter. Rate shall be inclusive of wastage , all types of glass as per item of approved make and specified thickness, compact sheet of approved make and thickness, glazing clips, necessry epdm rubber gasket between glazing cleats and glass, compact sheet, etc. At all such places., ss screw, SDST bolts, fastners,ss hinges, pivots,baker rod, nutral grade silicon sealent, structural sealent of approved make and colour, three meter tap, all hardware like GI tie rod , heavy angle cleat 4mm thick, SS 304 grade/satin finish nickle plated SS heavy quaility pivots, cutting, fabrication, errection and fixing to the best workman ship manner, including all hardware and assosseries like dead lock of godrej or equvalent push and pull handles of approved make in satin nickle finish brass or SS 316 brush finish , SS die cast consealed tower bolt 375 mm long with GI extended rod stopper all complete as per drawing , approved sample and direction of engineer incharge.
4.02(a) | Providing & fixing aluminum fully glazed fixed window/ vision panel/ ventilator with 4.5 to 5 mm thick clear float glass with necessary fitting, hardware and acessories all complete. Rate inclusive of aluminum frames & glass. | Sq.M | 130
4.02(b) | Description same as 4.02(a), using 5,6 mm wired glass im place of float glass.
4.02(c.) | Providing & fixing fully openable window / ventilators with side hugs / top hung shutter of 5mm/6mm thick clear float glass. Rate n clusive of aluminum frames & glass & frictional Hinges & other accessories complete.
4.02(d) | Providing and fixing two track sliding window with aluminium SS anodized frame ( standard gutter section to be used) and intermidiate members with 20 micron SS finish anodizing with 5mm/6mm thick clear float glass and SS mosquito ( 20 gauge ) net jali of approved make. All aluminium sections shall be of square sections with size of 50 plus 3 mm having wall thickness of minimum 2mm rates shall be inclusive of suprime PU backer rod on all side with nutral grade silicon sealent of approved shade. Rate shall be inclusive of all assosseries and rough guard, nutral grade silicon sealent etc. all complete. | Sq.M | 100
4.02(e) | Providing and fixing three track sliding window with aluminium SS anodized frame ( standard gutter section to be used) and intermidiate members with 20 micron SS finish anodizing with 5mm/6mm thick clear float glass and SS mosquito ( 20 gauge ) net jali of approved make. All aluminium sections shall be of square sections with size of 50 plus 3 mm having wall thickness of minimum 2mm rates shall be inclusive of suprime PU backer rod on all side with nutral grade silicon sealent of approved shade. Rate shall be inclusive of all assosseries and rough guard, nutral grade silicon sealent etc. all complete. | Sq.M | 300
4.02 (f.) | Providing & fixing aluminum adjustable louvre ventilator with plane glass | Sq.M | 50
4.34 | Alumnium Partion works | Sq.M | 300
TOTAL FOR ALUMINIUM WORK
5 | FINISHING WORK
5.01 | Providing and applying 12 mm thick plain cement plaster finish at all heights and below highest plinth level in Cement Mortar (CM) 1:4 (1 part cement: 4 parts sand- 50% coarse and 50% fine) in line, level and plumb to the walls, concrete elements, beams, ceiling, stair, columns, pardis, including making plaster bands, stripes, moulds, pattas, grooves etc, over any brick or concrete surface as specified including scaffolding, curing and finishing smooth Includinng hacking of concrete surface, complete as directed. | Sq.M | 8000
5.02 | -Do- as per Item No.5.01 but for 19 mm thick plain cement plaster finish in two layers with first coat of 12 mm thick with C:M (1:4)(1 part cement: 4 part sand 50% coarse and 50% fine) in line, level and plumb and second coat of 7 mm thick with C:M (1:2)(1 part cement:2 part fine sand) in line, level, plumb. The plaster surface shall be rubbed with iron plate till the surface shows cement paste, etc. Complete as directed. | Sq.M | 3700
5.04 | Providing and applying 19 mm thick sand faced cement plaster in two coats at all heights below and above highest plinth level with first coat of 12 mm thickness with cement mortar 1:4 (1part cement: 4 part of coarse sand) and top coat of 7 mm thickness with cement mortar 1:3 (1part cement: 3 parts of coarse sand) finishing using sponge to give uniform finish, on all types of concrete/brick surfaces including making plaster bands, stripes, pattas, grooves, drip moulds as per drawing/details, including scaffolding, curing etc., complete as directed. | Sq.M | 1000
5.06 | Providing and applying 25 mm thick water proof cement plaster in two layers of 15 mm under layer and 10 mm thick top layer both in C M 1: 3 (1 part cement: 3 part sand -50% coarse and 50% fine) in line, level and plumb at all heights below and above highest plinth level, including adding water proofing compound of approved quality and make as per manufacturer’s specifications necessary scaffolding curing etc complete as directed. (Quantity of waterproofing admixture added, shall be measured and paid for under relevant item). | Cu.M | 100
5.09 | Providing and applying ( with brush only) white washing with lime on new /old work, at all heights below and above highest plinth level , three or more coats to give an even shade to walls, ceiling, AC sheets, etc., including addition of glue of approved make, Indigo (blue) to give bright finishing including scaffolding etc. complete as directed. | Sq.M | 50
5.1 | Providing and applying Acrylic Emulsion Interior Paint of approved make and desired shade, on new / old work including the preparation of surface for painting, applying primer and Birla/JK white putty, rubbing the surface, again applying primer, applying plastic paint in two or more coats to give an even shade, at all heights below and above highest plinth level, scaffolding etc complete as per manufacturer’s specifications and as directed. | Sq.M | 8500
5.13 | Providing and fixing 24 gauge- chicken wire mesh at the junction of masonry work and RCC work or on any other place as directed to receive plaster including fixing with GI nails, raw plugs using suitable drill machine at all heights below and above highest plinth level including scaffolding etc complete as directed. | Rmt | 500
5.17 | Providing and applying 20-25 mm thk Exposed aggregate (Grit Wash) Plaster inclusive of making Groove as complete the rate should be inclusive of working at all heights below and above highest plinth level, scaffolding etc complete as per manufacturer’s specifications and as directed. As far as possible only marble stone aggregate should be used. Use of sand stone aggregate should be avoided. | SQM | 3100
5.2 | Providing and applying weather proof exterior acrylic emulsion paint of M/s Asian Paint Limited or equivalent of desired shade on new/old, plain plaster and or sand faced plaster work at all heights, below and above highest plinth level, two coats to give an even shade followed by one coat of primer of M/s Asian Paint as recommended by them including all scaffolding etc complete as per manufacturers specifications and as directed. | SQM | 1000
TOTAL FOR THE FINISHING WORK
6 | FLOORING WORK
6.1A | Providing and laying pre-polished to mirror finish average of 40 mm thick machine cut approved quality Kota stone of required size (length and width of the stone slab), in approved pattern, single piece in Flooring, of uniform colour, texture and pattern over 12 mm thick cement mortar 1:3 ( 1 part cement : 3 part coarse sand ) with cement paste @ 4.4 Kg/SQM filling of joints with white cement / cement mixed with colour pigments to match the shade , applying epoxy based damp proof coating on the base concrete/wall surface, curing, polishing, protection of finished surface, cleaning the same finally etc. complete as directed. This shall be carried out over smooth polished surface by using 500 to 2000 grit emery polishing in six stages ans final finishing with 2000 grit tin oxide and felt pads. The work shall be carried out with polishing machine with vibration free runner line mounting wheel. Note - Colour will be confrimed by Engineer site-incharge | Sq.M | 4000
6.1B | Do as per abover but for 25/32mm Kots stone for regular floor
6.1C | Do as per abover but for 18/20mm Kots stone for column clading
6.11 | Providing and laying 40 mm thick IPS flooring with under layer of 28 mm thick Cement concrete 1:2:4 (1 part cement, 2 part coarse sand and 4 part stone aggregate 12.5 mm and down graded) finished smooth with top layer of 12 mm thick mortar in CM 1:2 (1 part cement : 2 part coarse sand )and cement slurry @ 2.2 Kg / Sq.M including rubbing/ grinding the top surface to match, including rounding off the junction and corners with floors and walls, necessary construction joints, finishing the top surface smooth / chequered or broom, curing etc. complete as directed. or laying it in a smooth layer if we are getting smooth finishing | Cu.M
6.12 | Do- as per item no. 6.11 but for providing and laying 50 mm thick IPS flooring with under layer of 38 mm thickness and top layer of 12 mm thickness complete as directed. Or laying it in a sigle layer if we are getting smooth finishing. | Sq.M | 500
6.14 | Providing & mixing approved quality and make non metalic floor hardener of M/s FOSROC India Ltd or equivalent make as per manufacturers specification complete as directed. | Kg | 30000
6.15 | Providing and laying 3mm thick homogeneous Anti Static PVC vinyl sheet / tile flooring, skirting of approved make, pattern and colour over existing finished floor surface and skirting with adhesive evenly without any air gap as per manufacturers specification, including thermal welding & cleaning the sub-floor etc. complete as directed. | Sq.M | 100
6.19 | Providing and laying 1st quality minimum 7mm thick Glossy / Matt / Anti skid ceramic tiles of approved make, shade and size and thickness in flooring over average 20 mm thick cement mortar 1:4 ( 1 part cement : 4 part coarse sand) bed laid to requisite, line, level and slope, fixed with cement slurry of honey like consistency, cleaning the joints with coir brush , filling the them with white cement or white cement mixed with requisite matching colour pigment, curing, cleaning the area with water or water with mild acid etc complete as directed. Basic Rate of the TIle is 400 Rs/ SQM at Site | Sq.M | 100
6.2 | Providing and laying 1st quality ceramic tiles minimum 7 mm thick of approved make, shade and size in skirting / dado set in cement slurry over bedding of 12 mm thick cement mortar 1 : 3 (1 part cement : 3 part coarse sand) laid to requisite , line, level and plumb, either flush with the wall surface or uniformly projecting as per details / directed including cutting / making holes, raking cleaning the joints and filling with white / coloured cement, curing and cleaning with mild acid etc complete as directed. The Basic Rate of the tile is 400Rs/SQM | Sq.M | 1010
6.3 | Providing and laying cement water-proofing of average 115 mm thick for balcony, terrace etc at all the levels, with layer of 20 mm thick cement mortar 1:3 ( 1 part cement : 3 part coarse sand )mixed with water proofing compound of approved make and as specified by the manufacturer, laying brick bats of required size impregnating in to the base mortar bed with gap of 12 mm all around according to slope, level and curing the same, the gaps around brick bats filled with cement mortar 1:3 (1 part cement : 3 part coarse sand) mixed with waterproofing compound as above , 15 to 20 mm layer above brick bats and finishing top with neat cement @ 2.75 Kg/Sq.M. making square 300 x 300 mm chequered finish marks with string , finishing around rain water outlets curing etc. complete including furnishing of guarantee for 10 years. The work should be carried out through an approved specialised agency like India Water Proofing Co. or equivalent. | Cu.M | 3900
6.41 | Providing and laying pre-polished to mirror finish average of 18/20 mm thick machine cut approved quality GREY Granite stone of required size (length and width of the stone slab), in approved pattern, single piece in Flooring, of uniform colour, texture and pattern over 12 mm thick cement mortar 1:3 ( 1 part cement : 3 part coarse sand ) with cement paste @ 4.4 Kg/SQM filling of joints with white cement / cement mixed with colour pigments to match the shade , applying epoxy based damp proof coating on the base concrete/wall surface, curing, polishing, protection of finished surface, cleaning the same finally etc. complete as directed. Basic Rate of granite is 1200 Rs/SQM | Sq.M | 20
6.42 | Providing and laying pre-polished to mirror finish average 18/20 mm thick machine cut approved quality GREY Granite stone of required size (length and width of the stone slab), in approved pattern, single piece in skirting , dado , of uniform colour, texture and pattern over 12 mm thick cement mortar 1:3 ( 1 part cement : 3 part coarse sand ) with cement paste @ 4.4 Kg/SQM filling of joints with white cement / cement mixed with colour pigments to match the shade , applying epoxy based damp proof coating on the base concrete/wall surface, curing, polishing, protection of finished surface, cleaning the same finally etc. complete as directed.Basic Rate of granite is 1200 Rs/SQM | Sq.M | 30
6.43 | Providing and laying pre-polished to mirror finish average 18/20 mm thick machine cut approved quality GREY Granite stone of required size (length and width of the stone slab), in approved pattern, single piece in risers, treads windows cill,Door bottom, jambs,washbasin counters, urinal partition, Wash trough of uniform colour, texture and pattern over 12 mm thick cement mortar 1:3 ( 1 part cement : 3 part coarse sand ) with cement paste @ 4.4 Kg/SQM filling of joints with white cement / cement mixed with colour pigments to match the shade , applying epoxy based damp proof coating on the base concrete/wall surface, curing, polishing, protection of finished surface, cleaning the same finally etc. complete as directed.Basic Rate of granite is 1200 Rs/SQM | Sq.M | 300
6.46 | Providing & Laying cement concrete brom finished/smooth finish pavement for plinth protection 100- 150 mm thick with M25 including giving a floting coat with the nominal tempreature steel, tie bar, dowel bar as per MORTH specification of section 6 & / or steel fibre / PP fibres etc complete as specified by engineer incharge. The rate shall be exclusive of reinfocement steel, dowel bar & steel/ PP fibre if required the same shall be paid under the relevalent tender item. Rate shall be inclusive of concrete (to be laid in the alternate panel of size 12 sqm) with fair finished steel channel formwork, saw cutting of constuction & contraction joint in the width of 3 to 5 mm X 1/4 to 1/3 thckness of pavement filling the 25mm X 20mm (BXD) expansion joint approximately at every 30m with ready mix butiminous filler of shalimar tar product or equivalent as per sample approved & directed by engineer incharge etc. | Cu.M | 120
6.47 | Extra for carrying vaccum dewatering in floor, well compacted, mechanically vibrated, fished to the required level, floted with neat finish & powder trowelling to get desired finish (smooth / broom), over a leveling course inclusive MS shuttering curing for 7 days commplete as directed. the reinforcement for the trimix floor to be installed as shown, the suitale size of the panel should be 3.5m X 20m or as directed by engineer. The construction/ sawed joint to be formed at every 5m distance by grooving with mechanical saw within 48 hrs. Groove sawed joint of 5mm width & 25mm min depth (1/3 depth of the pavement) as shown in the drd & operation should be carried out as soon as conc. is ready to accept the saw cut with out trowelling etc complete as directwd by EIC . the joint should be filled with butimious sealent for road & PU selalent 6X6 mm for floor for floor pavement with backer road or adequate size. the construction joint is formed by square edge & painted with butimen. the rate shall inclusive of labour, groove & machinery cost. the rate of conc. & steel shall be paid under the relevant item seprately | Sq.M | 3900
6.53 | Do – as per item no. 6.19 but providing and laying 10 mm thick premium / 1st quality vitrified of Matt/ Glossy finish scratch free tile of approved make of any size not more than 900X900 and shade having plain edges in flooring over average 37 mm thick cement mortar 1:4 (1 part cement: 4 part coarse sand) bed laid to requisite, line, level and slope, fixed with cement slurry of honey like consistency, making joints flush as hairline joints, curing, cleaning the area with water or water with mild acid etc complete as directed. Basic Rate of the tiles is 450 Rs/ SQM at site. | Sq.M | 60
6.54 A | Providing and laying minimum 12mm thick premium/1st quality stain resistant ENDURA tiles of M/s H & R Johnson (India) having MOH hardness minimum 7, flexural strength minimum 35 N/Sq.mm, breaking strength as minimum 1700 N, density 2.2 gm/CC as minimum and having size 300 X 300 or as approved size, colour and shade having plain edges in flooring over average 37mm thick cement mortar 1:4 (1 part cement: 4 part coarse sand) bed laid to requisite, line, level and slope, fixed with approved adhesive (Diamond Star), making joints of 5 to 8 mm and fill with epoxy grout of same product, cleaning the area with water or water with mild acid etc complete as directed.Basic rate of endura tile is Rs 660/Sq.M. at site. | Sq.M
6.54 B | Do – as per item no. 6.54A but providing and laying minimum 15mm thick premium/1st quality stain resistant ENDURA tiles.Basic rate of endura tile is Rs 1000/Sq.M. at site. | Sq.M
6.54C | Do – as per item no. 6.54A but providing and laying minimum 20 mm thick premium/1st quality stain resistant ENDURA tiles.Basic rate of endura tile is Rs 1500/Sq.M. at site. | Sq.M
6.6 | Providing and fixing in walls coulmns round/square and such other locations glass mosaic tiles of size 24x24mm or any size of Accura or approved equivalent make of approved blue, green, golden yellow, orange and other colours laid over a bed of 20 mm thick cement mortar 1:2 (1 cement : 2 coarse sand ) and jointed with white cement slurry with permanent pigment to match the shade of the tiles complete. (Group IV tiles) The rate shall include the cost of base coat plaster. | Sq.M
6.61 | Providing & Appying Waterproffing tretement on RCC Slab with use of specialised chemeical coating such as brush bond(FOSROC Make) or equivalent as per manufacture specification in two or more coat so as to render the surface water tight, etc all complete as directed. | Sq.M
6.62 | Providing & laying, Acid and alkaline proof Red Mandana stone of approved size of 25 to 40 mm thick for flooring over 25mm (average) thick base in cement mortar 1:4 (1 cement : 4 coarse sand to the pattern called for laid over. including cutting of stone slabs, all wastage and rubbing and polishing complete . Allow for protection of stone using approved method, for specified section/area. including, Skirting work, epoxy joint filling, polishing to required finishing and level, tools and tackles, transportation, loading, unloading etc all complete as per drawing and specification. | Sq.M
6.63 | Providing and laying cast iron tiles in floor/skirting 300 x 300 or 300 x 150 mm 17 mm thick as per approved drawing weighing 6 Kg per tile for size 300 x 300mm and 3.0 Kg per tile for size 150x300mm, to be laid over 30 mm thick bedding of concrete 1:2:4 ( 1 part cement : 2 part coarse sand : 4 part graded aggregate 12mm and down) by impregnating the tile up to 8 mm compacting and filling the balance portion in the voids with cement mortar 1:1 (1 part cement : 1 part coarse sand), grouting the joints with neat cement slurry, followed by cement screed , curing machine / hand polishing, including the cost of P&A floor harder powder etc. complete as directed by Engineer Incharge. | Sq.M
6.64 | Carrying Floor Densification work on above VDF floor by using Lythium sylicate, powder trowelling to get desired finish (Glossy/Matt) completed as directed by Engg. | Sqm | 3856.7
6.65 | Supply and application of 4mm thick self-smoothening breathable polyurethane concrete Flooring system like Ucrete MF of BASF/ Nitofloor SL3000 UT of Fosroc/ Sika floor – 21NPurCem (IN) of Sika/ Duracrete of Cipy or equivalent reputed flooring system only with minimum 05 years warranty. Surface Preparation: The surface of the substrate should be made absolutely dry & free from laitance to achieve the maximum bond strength between substrate & flooring system. Preparing the surface by wire brush and mechanical means attached with industrial vacuum cleaner for maintaining dust free environment at work place or other suitable means with scarifier, removing the loosely adhered mortar/ slurry, making the surface free from dust, oil or any other deleterious materials. As per the specification of the manufacturer. Making necessary grooves of size 10mm X 10mm size all along the line of edge of the floor and creating mechanical bond with the existing flooring by cutting necessary grooves in the flooring, all around the existing/Kota stone flooring joints/ edges, removing the damaged portion of flooring and making good with same screed material for having anchorage for the self-smoothening polyurethane concrete Flooring. Scratch Coat: Ucrete MF/ Nitofloor SL3000 UT/ 21NPurCem (IN) / Duracrete of Cipy must be applied to the substrate @ 2.00 kg [depending upon the floor condition] per Sqm as a scratch coat to fill up the pores of RCC/ damaged existing flooring surface, after surface preparation and allowed to dry until it is tack free, prior to the application of the topping. As per the specification of the manufacturer. All the damaged part of existing flooring system must be filled with above material. Floor Topping: Providing and application of breathable self- smoothening 4mm thick Polyurethane Cementitious Flooring system, having mix density 1900-2200 Kg/m3 and having class 2 flame spread resistivity, Tensile strength of 6-10 Mpa as per ISO/BS Specification, compressive strength from 48 to 56 Mpa, Flexural strength of minimum 10 to 21 Mpa, Abrasion resistance of 100- | Sqm | 250
Note: | 1. The Work to be carried out at all the heights. The individual rates shall be inclusive of all lifts, lead and handling of materials, necessary scaffolding and staging.
2. Rates shall be inclusive of the slopes to be provided in all the above flooring items as directed and as per the drawings.
TOTAL FOR FLOORING WORK
7 | STEEL WORK
| Providing and fixing in position Guardian door 2 Hrs. fire rated manufactured by shakti met-Door limited or equivalent approved make as directed by Engineer - in Charge confirming to IS 3614(PART-2)1992 BS 4769(part-20&22) and ISO 834 or latest revisions with door frames of 1.60mm thick galvanised steel sheet press formed to rebated profile of size 100x57mm with chamfered bottom frame filled with concret and fixed in position with metallic expansion shield with counter sunk scres and door leaves made up of 1.20 mm thick galvanised steel sheet press formed to provide a 46 mm thick fully flush,double skin door shell with lock seam joints at style edges withno visible joints ,screws,welding on the face of the shutter.Internal reinforcements provided at top,bottom and style edges for fire rating ,double shutter doors to be provided with a meeting styles.Door to be provided with rectangular or circular view panel as indicated in architectural drawings all as per manufacturer's specification including providing necessary hardware like stainless steel imported steel butt hinges,mortice lockdoor closure, handles from Dorma or equivalent all as per European standards ,painting with Duco spray paint finish of approved colour and shade over approved primer all complete.(Measurement of door for payment will be from the outer to outer framein elevation only).Rate shall include cost of grouting with concrete in the frame | Sq.M | 36
7.08 | Providing and fixing in position interlocking rolling shutters, Fully panneled, Fully grilled Partly grilled & Partly Panelled, Pannel of 18 gauge, 75 mm wide cold rolled, MS Lathe interlocked through entire length and jointed together at the end by end locks mounted on specially designed pipe shaft with bracket including top cover, spring, axles, 3mm thick guide rails, tees, iron pulleys, bearings, handles, arrangements for inside and outside locking, holding-down bolts / MS lugs embedded in CC 1:2:4 including 2 or more coats of first quality synthetic enamel paint of approved make, over a coat of primer etc. complete as directed. (Measurements to be considered for payment shall be the clear size of opening plus guide channels on both sides for width and 450mm on top for drum height). With push and pull arrangement. | Sq.M
7.09 | Do- as item No.7.08 but for providing and fixing in position interlocking mechanically operated rolling shutter,fully panneled, fully grilled, Partly Grilled & Partly Panneled with mechanical device chain and crank operated with pair of handles etc complete as directed. | Sq.M | 65
7.12 | Providing, fabricating and fixing in position, grill, railing, steel ladder, Safety MS bars to windows/ ventilator of MS rolled sections as per architect’s details including cutting welding, grinding to smooth surface, fixing hold fast of MS sections embedded in concrete 1:2:4 (1 part cement, 2 part coarse sand, 4 part of stone aggregate 12 mm and down), anchor bolts including 2 or more coats of first quality synthetic enamel paint of approved make over a coat of primer etc. complete as directed. | Kg | 50
7.13 | Providing, fabricating and fixing in position MS inserts such as nosing, corner angles of columns, plates, flats, tee’s, protection channels of reception dock, supports, brackets and monorails, hooks, frame around cut-out, MS pipe sleeves etc. as per drawings and specifications, in true line and level including embedding the same into the permanent works at the time of casting of RCC works or fixing with or without base plate fixed to RCC element with appropriate size expansion bolts as per design, with necessary welding, grinding and painting with two or more coat of approved first quality synthetic enamel paint over a coat of primer etc. complete as directed. | Kg | 4000
7.14 | Providing, fabricating and fixing in position M.S. Hinge or Manual Sliding gate made out of M.S. rolled/hollow (rounds/rectangular/ square etc.) sections as per architect’s details including shearing /cutting, riveting, welding, grinding to smooth surface of all works, pivots, hinges/ Slidding Rail arrangement, MS solid shafts, MS fixing holdfasts to be grouted in concrete column / block, providing and fixing nuts bots fasteners as required, as per architect’s details, providing closing / locking arrangements, including painting with two or more coats of first quality synthetic enamel paint of approved quality and make over a coat of primer etc. complete as directed. (Individual member will be measured in RM / SqM and converted to weight by multiplying with co-efficient and shall be paid in Kgs. Nuts, bolts, washers required for fastening the hinges shall be deemed to have been included in the unit rates and nothing extra shall be paid for). | Kg | 100
7.15 | Providing, fabricating and fixing MS pipe railing of class B as per the architect’s details / as directed using MS pipes / square or hollow section, with necessary specials including painting with two or more coats of synthetic enamel paint of approved make and quality over a coat of red oxide primer etc complete as directed. (MS standard rolled sections used in railing shall be measured and paid under item no. 7.12) | Kg | 100
7.29 | Providing, fabricating and fixing in position grill of MS hollow section as per the details given by the architect including cutting, welding, grinding to smooth surface, fixing hold fast embedded in concrete 1:2:4, anchor bolts, painting with two or more coats of first quality synthetic enamel paint of approved make and quality over a coat of red-oxide primer complete as directed. (MS standard section used in grill shall be measured and paid under item no. 7.12) | Kg | 100
7.36 | Providing, fabricating and fixing in walls, columns (round/square) and such other locations cladding with stainless steel sheets/plates of grade-304 consisting of s.s flats, s.s.angles etc of grade-304 for its framework, including all necessary accessories such as s.s.inserts, 4 or 6mm marine ply etc., all cutting, bending, welding, grinding, drilling, tapping and all other incidentals, and approved buffing to stainless steel members as directed by the Engineer-in-charge | Kg. | 1000
TOTAL FOR STEEL WORK
8 | ROOFING
8.01 | Supplying, fabricating, assembling, hoisting and fixing in position to alignments & levels as per approved drawings, structural steel work in-built up roof truss girders and side claddings with booms, lattice girders roof trusses, gable frame, purlins / built-up purlins, cladding structures, side runners, etc., to detail welded (welding as specified by the structural consultant) / bolted constructions comprising R.S. joints, channels, angles, plates or any MS rolled section including necessary permanent rivets, bolts & nuts, welding, handling straightening, cutting, making holes by drill machine, shop / site assembly, erection, ( including preparation of template) transport to site, storing, etc., surface preparation by rubbing with motorised wired brush, sand paper, emery machines and painting with shop/site coat of red oxide primer prior to erection and two or more coats of first quality synthetic enamel paint of approved make and quality over a coat of red oxide primer after erecting in position at all heights including necessary scaffolding and staging, as required complete as directed. Payment will be made on the basis of standard section weights for net weight erected in position excluding rivets, temporary bolts, etc., but payment will be made for permanent bolts, nuts and washers. Note: - The above rate shall include the submission of the soft drawing for the prior approval | Kg. | 2000
8.02 | Do – as per item no. 8.01 but for providing, fabricating and fixing structural work using MS B class pipes / medium duty tubular square / rectangular sections having minimum yield strength of 310 N/Sq.mm and confirming to the specifications as per IS 4923 & IS 1161 of approved make including cutting , radius bending, mitring and Welding after matching etc complete (MS rolled sections like flats, plates, angles, T’s, ‘ I ‘/ ’C’ sections etc used shall be measured and paid under item no 8.01). Note: - The above rate shall include the submission of the soft drawing for the prior approval | Kg. | 500
8.03 | Providing, cutting / bending to shape & size, fixing in position MS chequered plate for covers of trenches, steps, landings, platforms etc. as per drawings / details including bending the edges, grinding them smooth with rounding the sharp edges / corners, painting with one coat of red oxide primer and two or more coats of first quality synthetic enamel paint of approved make and quality over primer coat etc. complete as specified and as directed. | Kg. | 2000
8.04 | Providing & fixing holding down bolts with nut, washer, upper portion of the bolts up to 100 mm portion or as specified threaded to requirement etc. complete as directed. (Rate to include for placing the bolts in position with templates etc.) | Kg. | 1500
8.09 | Providing & fixing GALVALUME colour coated cold rolled sheets made out of 0.5mm base metal thickness and Total Coated Thickness as 0.55mm, yield and tensile strength minimum 550 Mpa cold rolled sheet with hot dip metallic coating of aluminium zinc alloy 150 Gms/SQM, density minimum 4.8 Kg/SQM with minimum 20 microns super durable polyester paint or silicon modified polyester on top and 5 microns back-up epoxy coating at the bottom having 1020/1080mm cover width with 32 mm high crest at 220/250mm C/C in length as approved by the architect and with necessary suitable imported galvanised carbon steel 40micron zinc coated/minimum 20micron Zinc-Tin alloy coated Hexagonal head, self drilling & self tapping screws of ITW Buildiex(R) AS 3566 Class 3/ HILTI/BOSCH having drilling capacity minimum 6-8mm and in required diameter and length fixed using torque drill machine all complete with EPDM sealing washers with sealant. Rate should include cost of plastic caps of approved colour of UV resistance and button bolts etc. for the fasteners. Rate to include also fixing in roofing, cladding and all accessories and utilities like ridge, corner piece, aprons, barge boards, gutters, flashings, end pieces, etc., all accessories etc. complete The rates shall include all materials, tool / tackles, labour, scaffolding including handling and storage of the materials, providing guarantee against perforation for 20 years etc complete as directed for all heights. Measurement shall be paid for the plain area of the sheet laid. Overlaps, wastages, corrugation etc are inclusive with the rates and shall not be paid for. | Sq.M | 450
8.12 a | Providing and fixing in steel sheet roofing Wind operated approved make 600 mm dia Turbo – ventilators/roof extractors with sky light, made from rotating heads having turbine blades of hi grade aluminium, top and neck of stainless steel 304 grade, steel bearing with dust proof bearing housing or GFP Pushing instead of bearing, UV stabilised non-coloured translucent 3mm thick FRP moulded one piece construction (monolithic) venturi dome and corrugated base sheet (similar FRP sheets 3 mm thick UV resistant) of appropriate size having the profile matching with existing roof sheet with double action natural ventilation system powered by natural flow of air, boosts /extracts the hot and contaminated air / gases, obnoxious fumes, bad odour outside for healthy and improved environment inside Godowns including cutting the roof if necessary, fixing the Turbo ventilator as per drawing with the roof sheets including all fittings and fasteners as per manufacturer’s specification, making the joints water proof to prevent leakage in roof . encluding p& fabricating and fixing FRP SHEET DOM as per design & details etc complete as directed | Nos. | 10
Note: - The above rate shall include the submission of the soft drawing for the prior approval
TOTAL FOR ROOFING WORK
9 | MISCELLANEOUS WORK
9.02 | Providing and fixing 6 lever Lock for Aluminum doors of approved make & set of Keys Complete as directed. | Nos. | 10
9.04 | Providing and fixing leaf mounted hydraulic door closer of approved size, make and quality including mounting and adjustment etc complete as directed. | Nos. | 10
9.05 | Providing & fixing with SS cover plate & adjustable concealed cateed top Pivot of approved make ,Colour & required capacity(up to 90 Kg ) with 1 year gaurantee of Dorma or equivalent. Rate shall be inclusive of cutting of floor & cleaning / polishing the floor neatly grouting the floori spring & cleaning / polishing the floor & maintaing in the good condition uptil defect libility period. In case of Aluminum shutter bottom arm of floor spring & top Pivot shall be firmly fiixed in the aluminum member using required size of teak wood by making rebate in the wood. | Nos. | 2
9.06 | Filling the electrical zaris 250 mm to 150 mm wide and 50mm to 100mm deep with cement mortar 1:3 and finishing the same to match with the surrounding white wash of any other finish, etc. complete as directed. | RM | 100
9.07 | Dismantling stone/Brick masonry walls or partition wall plastered or un plastered as per instructions including finishing the broken surface to match with the surroundings, removal and disposal of debries outside the site including cutting the reinforcement bars, if any etc. complete as directed. | Cu.M | 5
9.08 | Dismantling the RCC beams, slabs, lintels, columns, pardi, walls, platform etc. including finishing the broken surface to match with the surroundings, removal and disposal of debries within site, including cutting the reinforcement/ MS inserts stacking the same and handing over to stores / yard outside the site etc. complete as directed. | CUM | 5
9.09 | Providing and filling the zaris 25 mm to 150 mm wide and 50 to 100 mm deep with PCC (1:2:4) and Finishing with plaster to match with surroundings including chiseling, scaffolding, curing etc. complete as directed. | RM | 100
9.12 | Providing & fixing self sweeling water bar of 12mm thick made up of flexible polymer composite at construction joint with an approved adhesive as per design requirement of water tank ETP where ever specified with proper over laps at joints as per IDMC approval The Water bar should be of Sinkoflex or equivalent. | RM | 50
9.22 | Dismantling P.C.C. in floors, sub base, payment, foundation concrete etc. at all levels including stacking, the debris and reusable materials at the place outside the department\building or disposal outside the employers premises as directed. | CUM | 5
9.23 | Removing of existing MS/ wooden doors/ Windows/ Ventilators/ Fly proof Shutters/grills including breaking side of Masonry wall,shiffting the door/Window/Ventilators & stacking the same as and where directed. | SQM | 25
9.26 | Dismantling / scrapping and removing existing plain/sand faced/grit cement plaster of any thickness from the brick/RCC works including necessary scaffolding at all heights and levels and disposing the debries within the site etc. complete as directed. | SQM | 50
9.29 | Providing and fixing gypsum board false ceiling with necessary powder coated GI frame work and GI suspenders as per the specifications of India Gypsum Ltd or equivalent in the profile as per architects drawing. The gypsum boards are to be joined and finished so as to have a flush look which includes filling and finishing the tapered and square edges of the board with jointing compound, paper tape and two coats of primer suitable for gypsum board and two or more coats of plastic emulsion or first quality synthetic enamel paint, etc. complete as directed. | SQM | 150
9.29a | Providing and fixing Metal false ceiling as per specification given by Manufacturer with all tool & Tackles complete suit to site | SQM | 25
9.4 | Providing and drilling of bore hole for required depth of 300mm dia and Inserting 250mm dia ISI PVC bore column pipe (Strainer pipe + plain pipe as per soil strata), filling Pebbles and Bentonite powder slurry in gap between PVC Pipe and drilled hole, blowing compressor for minimum 2 hours and other miscellaneous items such as digging pit for drilling bore, 250mm dia M.S. clamps for fixing pipe for the bore, 250mm dia M.S. plug etc. complete as directed EIC (for Rain water recharge well). All Other Civil Item Shall be Paid under the relevalant civil item of work | RM | 0
9.41 | Providing and Fixing heavy duty PVC rungs of around 350 mm long and around 180 mm wide complete as directed. | Nos. | 0
9.43 | Providing and fixing air vent cowl of PVC as per approved sample for 150/100/75 diameter pipe including jointing using adhesive as recommended by manufacturer appropriately etc complete as directed. | Nos. | 5
9.44 | Providing and laying PCC vatta and returns in maximum 250mm height and 250mm wide forming triangular curvature profile shape as per the drawing in cement concrete 1:2:4 (1 part cement : 2 parts of sand and:4 parts of stone aggregate 12mm and downgraded),including all manual compaction, finishing, curing etc complete as directed. | RM | 500
9.46 | Removing of A.C/CGI/Galvanium sheet Ridge from the existing roof and store the same as and where directed. | RM | 0
9.49 a | Removing of existing rolling Shutter push & pull/ gear operated and shifting & stacking the same as and where directed. | SQM | 0
9.5 | Removal of existing A.C/CGI/Galvanium sheet from roofing & cladding including stacking the sheets at the place as directed. | SQM | 0
9.55 | Removing of existing M.S. structural work and angle/chanel nosing including stacking the same as and where directed. | Kg | 0
9.58 | P/F special Stain less steel floor drains (Amul Trap) as per the sample approved by the IDMC and fixing the same as per detailed drg. Sketch, the same in floor at required levels including necessary excavation, providing and laying 75 mm thick PCC 1:4:8 - 230 mm thick brick masonary so as to form a chamber of size 30 x 20 cms. or as directed, inside plaster 12 mm thick in CM 1:4 ( 1cement : 4 coarse sand ) , IPS flooring 38 mm thick in floor of chamber, fixing the trap and jointing the same with the HDPE/ SW pipe with CM 1:1 ( 1 cement : 1 coarse sand) and jute fiber, matching the top of floor drain with the finished floor level etc. all complete. The vertical connecting HDPE/ SW pipe shall be paid for separately under the relevant items. [ The rate includes cost of all the required material including of SS floor drains which will be supplied by contractor as per sample approved by Dairy.] | Nos. | 20
9.59 | Providing and fixing of SS angle of approved make 50mm x 50mm x 3mm along the corner of RCC columns with 'M' seal / SS screws on raw plugs including drilling holes if required for fixing complete as directed. | Kg | 300
9.6 | P/F 75 mm dia S.S.pipe (Down take ) of 2mm thickness Grade 304 with required bend, buffing work and fixing the same with clamping & bolting etc.complete as directed. | RM
9.61 | Supplying of precast R.C.C manhole covers 34" x34" size HD 20 of approved make with angle frame all round of the approved make | Nos. | 10
9.62 | Provoding & fixing in position Anchor Fastner of 12mm dia in concrete of Hilti or Equivalent make & fixing them in postion in correct location line & level as per specification directed by an engineer incharge including drilling of hole in concrete with drilling machine & making good the surface of concrete or asonary after inserting the fastner. Rate to include drilling cleaing scaffolding tools tackles wasteage etc all complete | Nos. | 0
9..63 | Do as above item no 9.62 but for the anchor fastner of 16mm dia | Nos. | 5
9.64 | Do as above item no 9.62 but for the anchor fastner of 20mm dia | Nos. | 5
9.65 | Provoding & fixing in position Chemical Anchor Fastner of 8mm dia(100mmdeep) in concrete of Hilti or Equivalent make & fixing them in postion in correct location line & level as per specification directed by an engineer incharge including drilling of hole in concrete with drilling machine & making good the surface of concrete or asonary after inserting the fastner. Rate to include drilling cleaing scaffolding tools tackles wasteage etc all complete | Nos. | 5
9.66 | Do as above item no 9.62 but for the anchor fastner of 10mm dia (100mm deep) | Nos. | 5
9.67 | Do as above item no 9.62 but for the anchor fastner of 12mm dia (120mm Deep) | Nos. | 5
9.68 | Do as above item no 9.62 but for the anchor fastner of 16mm dia (160mm deep) | Nos. | 5
9.69 | Do as above item no 9.62 but for the anchor fastner of 20mm dia (200mm Deep) | Nos. | 5
9.7 | Do as above item no 9.62 but for the anchor fastner of 25mm dia (250mm deep) | Nos. | 5
9.71 | Takinng core from existing concrete beam/column/slab/wall etc. at location specified by the consultant. Beffore drilling reinforcemennt shall be located by rebar locator. No Reinforcement should be cut unless approved by the consultants. Rate shall include for diamond core machinne HILTI or approved equivalent, required scaffolding, water includinng fixinng of PVC pipe sleeve of required size and length.
a | 52mm dia. 100 to 300 mm long | Nos. | 2
b | 77mm 100 to 300 mm long | Nos. | 2
c | 102mm 100 to 300 mm long | Nos. | 2
9.72 | Providing & fixing Expansion joint in RCC construction by covering the expansion joint with SS 304 plate 150mm X 3mm, fixing the same on one part of the concrete element so as to cover the expansion gap fully filling the visible gap with polysulphaide sealent. etc all complete as directed. | RM | 100
9.73 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | Sqm | 0
9.74 | Dismantling of toilet fitting of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 meters lead. | Nos. | 0
TOTAL OF MISCELLENIOUS WORKS
10 | ROAD WORKS
10.01 | Surface dressing including preparation of sub grade of road bringing earth work to required grade, slope and camber in the existing surface, including cutting or filling earth up to 300 mm thickness, watering, consolidation with 8-10 MT Power Road Roller, etc. complete as per details and as directed. | SQM | 1
10.08 | Providing and laying pre-cast / cast in- situ kerbing in cement concrete M-20 and 450mm wide, 75 to 100 mm thick and total 250 high, 100-125 mm thick web, edge duly chamfered including necessary excavation, surface dressing, cutting the road, laying PCC 1:5:10 (1 part cement 5 part coarse sand 10 part stone aggregate 20/37 mm and down) 100 mm thick, shuttering / moulds for exposed finish or provide smooth plaster with neat cement finish, curing and two coats of enamel paint as per approved drawing etc complete as directed. | RM | 1
10.11 | Providing & Laying cement concrete brom finished/smooth finish pavement for plinth protection 150-200mm thick with M25 including giving a floting coat with the nominal tempreature steel, tie bar, dowel bar as per MORTH specification of section 6 & / or steel fibre / PP fibres etc complete as specified by engineer incharge. The rate shall be exclusive of reinfocement steel, dowel bar & steel/ PP fibre if required the same shall be paid under the relevalent tender item. Rate shall be inclusive of concrete (to be laid in the alternate panel of size 12 sqm) with fair finished steel channel formwork, saw cutting of constuction & contraction joint in the width of 3 to 5 mm X 1/4 to 1/3 thckness of pavement filling the 25mm X 20mm (BXD) expansion joint approximately at every 30m with ready mix butiminous filler of shalimar tar product or equivalent as per sample approved & directed by engineer incharge etc. | CUM | 1
10.12 | Providing and laying interlocking pavement stonescement concrete of approved quality and make having compressive strength of minimum 350 kg/sq.cm and thickness not less than 75mm with smooth / approved finish and edges duly chamfered over a water compacted 75 mm thick natural Quarry bed to the required line, level and compacting the stones laid by plate vibrator including cost of labour for surface dressing of the base as specified in surface dressing item no. 10.01 etc complete as directed. | SQM | 1
10.15 | Providing and filling of STP or equivalent approved make product, sealing compound of grade A –IS 1834-1984 in all types of construction, contraction and expansion joints of the RCC roads and hard park. The joints shall be of size 20mm wide X 25 mm deep. Before applying the sealing compound the sides of the joints should be thorough cleaned of dust and dirts and shalitex primer should be applied. The filler shall be filled up so as to give convex finish at top of the joints. The rate includes labour charges for laying along with heating the compound etc., as per the manufacturer’s specification and as directed. (Rate to be quoted for the joint of size 20mmX25mm size for a metre, in case of any change in size of joint as per the drawing, equivalent running meters will be worked out based on volume and paid for). | RM | 1
10.21 | Providing and fixing mild steel dowel/tie bars of approved make including greasing etc. in concrete pavements in the expansion joints as per details complete and as directed. | Kg | 1
10.22 | Providing & laying UPVC pipe pieces of approved make and pressure 6 kg./sq.cm. in sheathing for dowel / tie bars in concrete pavements as per details including plugging the ends using uPVC pipe caps and adhesives etc. complete as directed. For 40mm dia | RM | 1
TOTAL OF ROAD WORK
UANTITY FOR WATER SUPPLY WORK
11 | WATER SUPPLY
11.01 | Providing and laying concealed underground waterline of “B” class GI pipe of ISI mark of the following diameters, including all necessary heavy duty specials of ISI mark, including excavation in soil/murum/rock, providing and applying metal primer and two coats of Bituminous paint of approved make after successful pressure testing of the pipeline, sand cushioning and covering with sand, refilling of trenches, compaction etc. complete as directed. for 80 mm nominal bore (NB) GI pipe. | RM
11.02 | -Do- as per item no. 11.01 but for providing and laying 50 mm NB GI pipe complete as directed. | RM
11.03 | -Do- as per item No.11.01 but for providing and laying 40 mm NB GI pipe complete as directed. | RM
11.04 | -Do- as per item No.11.01 but for providing and laying 25 mm NB GI pipe complete as directed. | RM
11.06 | P & L UG GI pipe line 15 mm dia | RM
11.25 | Providing & fixing heavy duty Gun Metal wheel valve of approved quality and make ISI marked, for lines of following diameters complete as directed. For 80 mm dia NB pipeline. | Nos.
11.26 | -Do- as per item no. 11.25 but for providing and fixing 50 mm dia NB wheel valve complete as directed. | Nos.
11.27 | -Do- as per item no. 11.25 but for providing and fixing 40 mm dia NB wheel valve complete as directed. | Nos. | 1
11.28 | -Do- as per item no 11.25 but for providing and fixing 25 mm dia NB wheel valve complete as directed. | Nos. | 1
11.3 | -Do- as per item no. 11.25 but for providing and fixing 15 mm dia NB wheel valve complete as directed. | Nos.
11.31 | Providing and fixing chromium plated brass bib cock of approved make with chromium plated flange (disc) etc. for 15 mm dia NB pipeline, complete as directed. | Nos. | 5
11.32 | -Do- as per item No.11.31 but providing and fixing long body CP brass bib cock complete as directed. | Nos. | 2
11.33 | Providing and fixing chromium plated concealed brass heavy-duty stop cock of approved make with chromium plated flange (disc) etc. complete as directed. For 15 mm dia NB pipeline. | Nos. | 2
11.4 | Providing & fixing brass chromium plated towel rail of approved make of 610 mm length including drilling, supply and fixing brass screws securing the rail firmly at both the ends etc. complete as directed. | Nos. | 2
11.41 | Providing & fixing CI Circular manhole cover of 455mm dia. of 40 Kg. Weight including CI frame of approved make. The cover shall be got approved in advance and shall be fixed by grouting the frame in brickwork / RCC cover slab, including painting with two coats of bituminous paint etc. complete as directed. | Nos. | 10
11.42 | Providing & fixing 40 mm dia NB brass heavy duty Ball Cock of approved make including fixing the same etc. complete as directed. | Nos. | 2
11.47 | -Do- as per item No.11.46 but for providing and fixing 50 mm dia NB water spout complete as directed. | Nos. | 2
11.48 | -Do- as per item No.11.46 but for providing and fixing 40 mm dia NB water spout complete as directed. | Nos.
11.49 | -Do- as per item No.11.46 but for providing and fixing 25 mm dia NB water spout complete as directed. | Nos.
11.52 | Providing and fixing CP Brass heavy duty overhead single flow shower of approved make confirming to approved sample with CP brass 190 mm matching arm with wall flange etc complete as directed. | Nos.
11.53 | Providing and installing on terrace PVC water storage tank having capacity 1000 Ltrs of M/s SINTEX water tank of series CCWS, cylindrical vertical tanks with closed top having manhole and cover, including shifting the same from site store, supplying and fixing connection inlets, outlets, air vents, float valves, overflow drain pipes up to ground floor, washers, check nuts, Neosprine gaskets etc of specified sizes including hydraulic testing and painting all the GI accessories with one coat of primer and two coats of synthetic enamel paint of approved make complete as directed. | Nos.
11.55 | Providing and laying Chromium plated brass metal pillar cock of approved make and suitable for 15 mm dia as directed. | Nos. | 2
11.56 | DO – as per item no.11.53 above but for providing and installing on terrace PVC water storage tank having capacity 2000 Ltrs of M/s SINTEX instead of 1000 Ltr. | Nos. | 2
11.6 | -- Do – as per item no. 11.01 but for providing and laying underground waterline of PVC pipe of 10 Kg/SqCm of approved make and the following diameters instead of GI pipe, including all necessary heavy duty PVC specials, including excavation in soil/murum/rock, providing and applying adhesive recommended by the manufacturer, necessary successful pressure testing of the pipeline, brick masonry supports, sand cushioning and covering with sand, refilling of trenches, compaction etc. complete as directed.
(b ) | -Do- as per item no. 11.60 but for providing and laying 75 mm dia PVC pipe complete as directed. | RM
( c) | -Do- as per item no. 11.60 but for providing and laying 50 mm dia PVC pipe complete as directed. | RM
( d) | Do- as per item no. 11.60 but for providing and laying 40 mm dia PVC pipe complete as directed. | RM
(e) | -Do- as per item no. 11.60 but for providing and laying open or concealed 25 mm dia PVC pipe including all supporting clamps or making zaries and filling with CM (1:4) etc complete as directed. | RM
(f ) | -Do- as per item no. 11.60 but for providing and laying open or concealed 15 mm dia PVC pipe including all supporting clamps or making zaries and filling with CM (1:4) etc complete as directed. | RM
11.61 | P& L Open /Conceled /U.G. CPVC water line 80mm dia 10Kg/ cm2 | RM
(a ) | -do as 50mm dia 10 Kgf/cm2 | RM
(b ) | -do as 40mm dia 10 Kgf/cm2 | RM | 10
( c) | -do as 32mm dia 10 Kgf/cm2 | RM | 10
(d ) | -do as 25mm dia 10 Kgf/cm2 | RM | 10
(e) | -do as 15mm dia 10 Kgf/cm3 | RM | 10
11.66 | Providing and fixing brass metal Handle valve of make Zoloto or equivalent make etc complete as directed of 75 mm dia | Nos. | 2
11.67 | Do- as per item no. 11.66 but for providing and fixing 50 or 40mm dia Handle valve. | Nos. | 2
11.68 | Do- as per item no. 11.66 but for providing and fixing 25 or 15mm dia handle valve. | Nos. | 2
11.69 | do as per item no 11.32 but for swan type lab cock | Nos. | 2
11.70 (a) | P& L Open /Conceled /U.G. UPVC water line 110mm dia 10Kg/ cm2 | RM | 10
11.70 (b) | -do- as 80 mm dia 10Kg/ cm2 | RM | 10
11.70 (c) | -do- as 50 mm dia 10Kg/ cm2 | RM | 10
11.70 (d) | -do- as 40 mm dia 10Kg/ cm2 | RM | 10
11.70 (e) | -do- as 25 mm dia 10Kg/ cm2 | RM | 10
11.70 (f) | -do- as 15 mm dia 10Kg/ cm2 | RM | 10
11.71 | Supply & fixing health fossit with 2 way CP bibcock along with all necessary consumable acces. All complete | Nos. | 2
TOTAL OF WATER SUPPLY
F QUANTITY FOR SANITARY WORK
12 | SANITARY
12.01 | Providing and laying 300 mm diameter non-pressure class NP2 RCC Hume pipes with collars including excavation of trenches in soil/murum/rock, laying the pipes as per layout and drawing, filling the joints with stiff mixture of cement mortar (1part cement :1part fine sand) and jute, curing, testing the pipe and refilling the trenches in layers with due compaction & watering etc. complete as directed. | RM
12.02 | -Do – as per item no. 12.01 but for providing and laying 230 mm diameter NP2 RCC Hume pipe complete as directed. | RM
12.03 | -Do – as per item no. 12.01 but for providing and laying 150 mm diameter NP2 RCC Hume pipe complete as directed. | RM
12.2 | Providing and laying 100 mm diameter uPVC rain water line of 4 Kg / Sq cm rating of approved make with all necessary specials to be jointed adhesive as per manufacturers specifications etc complete for open pipeline / in brick wall / RCC structure including clamping to secure in position etc. complete as directed. | RM | 50
12.21 | Do – as per item no. 12.20 but for providing and laying 150 mm diameter uPVC rain water line complete as directed. | RM | 200
12.27 | Providing & fixing white glazed vitreous chinaware wall mounted caantilever type EWC of Hidusthan make or equivalent with approved make dual flush system with cistern fittings CI chair brakett with rag bolt with nut & metal washer including sppply & fixing of 1 no. CP duty duty angle valve with CP wall flange of jaquar make or equivalent with CP brass inlet connection with intergral 'P' or 'S' trap inclusive cutting & making good the wall and floor are as under with supported on CI wall brakett etc. complete to the satisfaction of EIC. | Nos.
12.28 | Providing & fixing white glazed vitreous chinaware china ware orissa pan water closet of hindusthan make or equivalent with dula flushing system cistern with fitting then item comprsing of a) Approved make orissa pattern water closet of size approx 580mm X 440 mm back/ front inlet or equivalent.b)dual flushing system c) 1 no. CP heavy duty angle valve with wall flange of jaquar make or equivalent With PVC inlet connection of approved make d)with 1 no. "P" or "S" trap of approved make or equivalent. the quated rate shall include for setting up the water clodet in 1:2:4 PCC. | Nos.
12.29 | Providing and fixing large flat back (half stall) white glazed first quality lipped urinal of 580x380 mm size approved make including chromium plated angle valve, brass CP spreader and CP pipe, 31 mm CP dia chromium plated waste coupling with required length of 32 mm dia concealed GI pipe upto the drain and bend, fixing clamps complete as directed. | Nos.
12.3 | Providing and fixing first quality white glazed wash basin of 550 mm x 400 mm size, approved shape as per details of approved make and quality with necessary specials, one chromium plated brass pillar cock of 15 mm size, one 15 mm CP angle valve size, one 15 mm CP angle valve chromium plated, connecting CP pipes with nuts and all fittings, 31 mm dia. CP waste coupling and rubber plug with CP chain, heavy brackets with two coats of aluminium paint over brackets, and 32 mm dia GI concealed waste pipe in wall with bend etc. complete as directed. | Nos.
12.32 | Providing and fixing 1mm thick stainless steel sink of approved make of size 600 x 450 x 200 or 250 mm with drain board on one side including all necessary fittings and specials such as CI brackets, overflow, rubber plugs, CP brass chain, 63 mm dia. CP brass waste coupling, 40 mm dia. CP waste pipe, applying two coats of aluminium paint to the brackets etc. complete as directed. | Nos.
12.33 | Providing and constructing square mouth 100 mm dia. stoneware gully trap grade “A” complete with CI grating including excavation, foundation concrete BBCC 1:5:10(1 part cement, 2 part coarse sand, 4 part of brickbat) 230 mm thick masonry, in Cement Mortar(CM) 1:6(1 part cement, 6 part coarse sand), cement mortar 1:3 (1 part cement,3 part coarse sand) plaster, neat cement finish and back filling etc. and water tight CI cover with frame of (300x300) mm size (inside),the weight of cover be not less than 4.5 kg and frame to be not less than 2.70 kg as per standard design complete as directed. | Nos.
12.36 | Providing and fixing HCI Nahani trap of approved make with perforated brass cast CP jali including cutting the floor and fixing trap in CC 1:2:4 making good the floor etc. complete as directed. | Nos.
F | Providing and fixing 32 mm dia chromium plated brass heavy type approved quality bottle trap with matching wall flange etc. all complete as directed. | Nos.
12.38 | Providing and fixing white glazed vitreous china recessed paper holder of approved quality and make with wooden/aluminum / PVC roller, paper roll etc. complete as directed. | Nos.
12.45 | Providing and fixing CI circular Manhole cover with frame of minimum 455 mm dia weighing minimum 60 kg (double seal) with confirming to IS etc complete as directed. | Nos.
12.49 | Providing and fixing recessed soap dish of approved make and quality with necessary cutting the wall and finishing the surroundings complete as directed. | Nos.
12.5 | Providing and fixing looking mirror 5 mm thick of approved make over a backing of 12 mm thick Novaboard firmly fixed with brass oxidized screws , CP cup type screw etc. including the painting the exposed surfaces complete as directed. | SQM
12.51 | Providing and fixing liquid soap holder with soap bottle of approved make fixed with CP brass screws etc. complete as directed. | Nos.
12.56 | -- Do – as per item no. 12.33 for providing and constructing square or circular mouth 100 mm dia. PVC bottle gully trap of approved make having size around 160mm X 110mm including rising piece, PVC grating. Gully trap shall be having one outlet and three closed inlets, seal traps, etc all for domestic and industrial grade, including excavation, foundation concrete BBCC 1:5:10(1 part cement, 2 part coarse sand, 4 part of brickbat) 230 mm thick masonry, in Cement Mortar(CM) 1:6(1 part cement, 6 part coarse sand), cement mortar 1:3 (1 part cement,3 part coarse sand) plaster, neat cement finish and back filling etc. and water tight PVC cover with frame of suitable size (inside) etc complete as per the design complete as directed. | Nos.
12.58 | Providing and laying 150 mm diameter “Foamcore/ or equivalent make” uPVC pipe of approved make having rating of 10Kg/Sq.Cm suitable drain, waste, vent piping etc having stiffness classes as SN2 for open applications where as SN4 & SN8 for underground applications including all fittings, fixtures, specials etc complete including excavation and concrete bedding excavation of trenches up to required depth, providing & laying 150 mm thick BBCC 1:5:10 (1 part cement, 5 part coarse sand, 10 part brickbat) as bedding, laying and jointing the pipe in line and level, with CM 1:1 (cement:sand) and jute fibres, curing, encasing with PCC 1:5:10 (1 part cement, 5 part coarse sand, 10 part stone aggregate) all around of the pipe, refilling of the trenches, testing etc. complete as directed.and open piping using clamping etc including all necessary specials such as Y-s, T-s, offsets, bolts, cement joints and 2 coats of bituminous paint etc complete as directed. | RM
12.59 | Do – as per item no. 12.58 but for providing and laying 90mm diameter “Foamcore or equivalent make” uPVC pipe instead of 150mm dia etc complete as directed. | RM
12.6 | Do – as per item no. 12.58 but for providing and laying 75mm diameter “Foamcore or equivalent make” uPVC pipe instead of 150mm dia etc complete as directed. | RM
12.61 | Do – as per item no. 12.58 but for providing and laying 50mm diameter “Foamcore or equivalent make” uPVC pipe instead of 150mm dia etc complete as directed. | RM
12.62 | Do – as per item no. 12.58 but for providing and laying 230mm diameter “Foamcore or equivalent make” uPVC pipes for soil west drainage etc complete as directed as per item no. 12.58 | RM
12.64 | Do – as per item no. 12.58 but for providing and laying 100mm diameter “Foamcore or equivalent make” uPVC pipes for soil west drainage etc complete as directed as per item no. 12.58 | RM
12.68 | Providing and fixing stainless steel sink of ISI mark for laboratory , of size 600x450x200 or 250 mm with drain board on one side including all necessary fittings and special such as CI brackets, overflow, rubber plugs, CP brass chain, 31 mm dia. CP waste pipe, applying two coats of aluminum paint to the brackets etc. complete as directed. | Nos.
12.69 | Providing and fixing 25 mm dia concealed CP flush valve of approved make and including 25 mm dia flush bend with cutting and making good the walls and floors etc complete as specified/directed. | Nos.
12.71 | P&L HDPE Pipe of PN 10 Rating of PE 80 or PE 100 Grade with all required specials & fitting, jointing with hot mirror method in line & level, fixing of pipe with Anul trap outlets with leak proof sealent etc all complete as directed. The work of Excavation, Concreting for encasing of pipe, would be measured sepratetely & paid under relevalant item of work.
A | 315 mm dia | RM
B | 250 mm dia | RM
C | 175 mm dia | RM
12.73 | P & F SW 150 mm dia square mouth gully trapwith chamber & cover | RM
12.74 (a) | P/L PVC soil west pipe concld/ open 100 mm dia 10 kg/cm2 | RM
(b) | P/L PVC soil west pipe concld/ open 150mm dia 10 kg/cm3 | RM
(c ) | P/L PVC soil west pipe concld/ open 230mm dia 10 kg/cm4 | RM
TOTAL OF SANATIRY
INTERNAL ELECTRICAL WORKS
WIRING (PART-I, TRADE CODE -81)
10 | Wiring with ISI approved and marked, FRLS insulated 1100 V grade wires with electrolytic stranded copper conductor confirming to IE 322-123, IS:694. Fire insurance approved (FIA) wires in 25 mm dia RIGID PVC MMS conduits and weather proof junction BOXES, ISI MODULER TYPE switches, sockets, boxes, plate covers to be used. Concealed type wiring ceiling height 6.5 m. (Average distance considered up to 15M)
| Light point wiring with 1.5 Sq.mm FRLS insulated copper conductor 1100 V grade wires for phase, N & E in 25 mm dia RIGID PVC conduit system including providing and fixing one no. 6 Amp single pole ISI modular switch in 16 SWG MS box with plate cover complete in all respects for one light point controlled by one switch 6.5 m ceiling height. (Average distance considered 15M) | No | 150
20 | Wiring for light point on ceiling of industrial shed, as per item no. 10 with control by MCB of existing DB/MCB Box 6.0 mtr to 7.0 mtr ceiling height. (Average distance considered 15M) | No | 20
30 | --do-- but as erection loop light point from primary point without control switch as per item no. 10 (Average distance considered 15M) | No | 200
40 | Ceiling fan point wiring with 1.5 Sq.mm FRLS insulated copper conductor 1100 V grade wires for phase neutral & earth in 25 mm dia RIGID PVC conduit system including provided and fixing one no 6 Amp single pole ISI modular switch in MS box with plate cover with space in MS box 5 step electronic modularfor fan regulator (HUMFREE type) and MS box for fan suspension complete in all respect.6.5 m ceiling height. (Average distance considered 15M) | No | 2
50 | Exhaust / wall / bracket fan point wiring same as item 40 without provision for regulator in switch/MS MCB box with hook for fan suspension with 5 pin 6A modular socket. (Average distance considered 15M) | No | 108
60 | 6 Amp power point wiring with 1.5 Sq.mm FRLS insulated copper conductor1100 V grade wires and 1.5 Sq.mm green FRLS insulated copper earth wire in 25 mm dia. RIGID PVC conduit system including providing and fixing one no. 6 Amp 3 pin 250 V socket outlet and 6 Amp 250 V ISI modular type switch in MS box with cover PLATE complete in all respect with circuit from lighting SB at convenient location. (Average distance considered 15M) | No | 20
70 | Same as above but power point is in the light switch board itself. | No | 40
80 | 16 Amp power point wiring with 4 sq mm FRLS insulated copper conductor. 650 V grade wires and 2.5 sq mm green PVC insulated copper earth wire in 25 mm dia. RIGID PVC conduit system including providing and fixing one no. 16 Amp universal 6 pin. 250 V ISI MODULER TYPE switch in MS box with PLATE cover including circuit from DB. (15 mtr Avg.) | No | 16
90 | --do-- but 16 A loop point from primary 15 A point.(15 mtr Avg.) | No | 10
100 | 20 Amp power point wiring with 4 sq mm PVC insulated copper conductor 650 V grade wires and 2.5 sq mm green PVC insulated copper earth wire in 25 mm dia, RIGID PVC conduit system, including providing and fixing one no. 20 amp 3 pin metals clad plug & socket with top end cover and one no. 20Amp MCB in MS box with cover. One point on one circuit from DB. (15 mtr Avg.) | No | 6
110 | Providing computer power point board having 16A SP modular switch- 1 No.and 6A modular socket -3 Nos. with 2x2.5 sq.mm &1 x 1.5 sq.mm circuit as 81.23 from DB or from existing computer point (Max.3 computer on one circuit) (15 mtr Avg.) | No | 6
120 | Circuit wiring with FRLS insulated 1100 V grade copper conductor wires for power and copper conductor for Earthing in RIGID PVC conduit system complete with wire and conduit size as given below.
| 2x2.5 Sq mm for power and 1 x 1.5 sq mm for Earthing in 25 mm dia conduit. Up to 2 circuits in one conduit. | RM | 6000
130 | -do- but with 2 x4 Sq mm for power and 1 x 2.5 sq mm for Earthing in 25 mm dia conduit. | RM | 1000
140 | -do- but with 2x6 sq.mm power & 1x4.0 Sq.mm for Earthing in 25mm dia conduit for SPN DB supply. one circuit in one conduit. | RM | 200
150 | -Do- but with 2x1.5 sq mm for power and 1x1.5 sq mm for Earthing in 25 mm dia conduit. | RM | 1500
170 | Supply and installation of single compression cable gland of plated brass and suitable cable lugs as under
| (a) Armored cables up to 10.00 sq.mm | No. | 8
| (b) -Do- but for 16 to 50 sq.mm | No. | 4
180 | Providing & laying spare concealed or surface 25 mm dia 1.9 mm thick rigid PVC FIA conduits for power wiring complete with accessories and draw out boxes and their covers. | RM | 100
190 | Providing & laying spare concealed or surface 40 mm dia 2 mm thick rigid PVC FIA conduits for power wiring complete with accessories and draw out boxes and their covers. | RM | 40
200 | Providing & fixing of uPVC trunking of size 50 x 50 mm having white high impact uPVC, having self-extiguishing and corrosion-resistant properties, trunking featuresa double-locking clip-on lid, offering a highdegree of resistance to water penetration and mechanical shock. | RM | 20
210 | Supply, Installation testing & commissioning of lighting fixture suitable for fluorescent / LED lamps directly on ceiling/beams/walls/ trusses/ false ceiling panel etc. complete with all accessories without any extra clamps or additional fixing device including connecting with 1.5 sq mm copper conductor wires P,N,E from light point .
| (a) 40W LED tube light (MAKE-C&S,HAVELLS,BAJAJ,CG ) | Nos. | 73
| (b) 20 W LED tube light (MAKE-C&S,HAVELLS,BAJAJ,CG ) | Nos. | 4
| (c) 12W/16W LED Surface down light (MAKE-C&S,HAVELLS,BAJAJ,CG ) | Nos. | 15
| (d) 42W LED 2 feet x 2 feet down false ceiling light (MAKE- C&S,HAVELLS,BAJAJ,CG ) | Nos. | 12
| (e) 20W/22W LED Surface down light (MAKE-C&S,HAVELLS,BAJAJ,CG ) | Nos. | 2
| (f) 6W LED bulb (MAKE-C&S,HAVELLS,BAJAJ,CG ) | Nos. | 2
| (g) 9W LED mirror light (MAKE-C&S,HAVELLS,BAJAJ,CG ) | Nos. | 2
| (h) 30W/40W Electrical insect killer machine | Nos. | 24
220 | Supply, Installation ,Testing & commissioning of bulk head fitting out door type with glass cover, wire guard, rubber gasket with 10 W LED / CFL lamp, installation on wall and making connections to existing point with 3.0 core wire.
| (a) 10W LED bulck head light fitting (MAKE-C&S,HAVELLS,BAJAJ,CG ) | No | 6
230 | Supply, Installation testing and commissioning of ceiling / WALL / Bracket/ Exhaust fan with all standard accessories and connecting with 1.5 sq mm copper conductor FRLS wires.P,N & E.
| (a) 1200 MM ceiling fan (MAKE:- BAJAJ,CG,HAVELS) | No | 2
| (b) 250 MM plastic body exhaust fan (MAKE:- BAJAJ,CG,HAVELS) | No | 2
| (c) 400 MM plastic body wall fan (MAKE:- BAJAJ,CG,HAVELS) | No | 2
240 | Supply and installation of standard hanging rod of ceiling fan to be replaced with new GI class 'B' type up to 2000 mm long. | No | 2
250 | Supply and installation of Heavy Duety 450mm dia, metal body Wall Fan (MAKE:- BAJAJ,CG,HAVELS,Almonard) | No | 56
260 | Supply and installation of Heavy Duety 450mm dia Industrial Pedestal Fan Almonard make Single phase (MAKE:- Almonard,BAJAJ,CG,HAVELS) | No | 2
270 | Supply and installation of 1-phase, 230V, RPM-1400, Air delivery -6200 m³/h ,heavy duty exhaust fan, 450 mm size (MAKE:- CG,HAVELS) | No | 48
280 | Supply and installation of 1-phase, 230V, metal body exhaust fan, 380 mm size (MAKE:- CG,HAVELS) | No | 1
290 | Supply and installation of 1-phase, 230V, metal body exhaust fan, 300 mm size (MAKE:- CG, HAVELS) | No | 1
300 | Making opening in wall including finishing in all respects for exhaust fan up to 450 mm size. | No | 5
310 | Supply, Installation and commissioning of industrial / FLP well glass lighting fitting / LED Flood light with cable glands, making connections with 1.5 sq.mm phase neutral earth wires and supply of suitable clamp.
| (a) 60W LED Flood light (MAKE-C&S,HAVELLS,BAJAJ,CG ) | No | 8
| (b) 80 W LED high bay/mid bay luminair (MAKE-C&S,HAVELLS,BAJAJ,CG ) | No | 224
320 | Supplying and installation of M.S.louvers shutter for exhaust Fan of size up to 450 mm. | No | 48
330 | Supply and installation of 40 mm OD, GI pipe B class 1.5 mtr long duly welded on 20 cm dia 3 mm thick base plate on wall for mounting or fixing with bolts / clamps duly painted as directed. | No | 8
340 | Supply and Fixing, testing & commissioning bracket light fixture including wiring from pole junction box to fixture with 3 x 2.5 Sq mm copper conductor PVC insulated flexible cable on street light pole. (A) 45W LED IP65 street light. (Considere average wire from juction to fixture15 mtr) (MAKE- C&S,HAVELLS,BAJAJ,CG ) | Nos | 5
350 | Supply, Installation and testing of chemical earth stations as per latest IS-3043. ASHLOK make Safe Earthing Electrode, pipe-in-pipe technology, Hot Dip Galvanized using mild steel pipes, outer pipe dia 76.3 mm (Wall thickness: 3.2 mm) inner pipe dia 42.4 mm (Wall thickness: 2.6 mm), terminal hole 12 mm dia, length 3 meter; Hot Dip Galvanized with about 80 - 100 microns zinc coating, pipes inner filled with anti corrosive crystalline conductive mixture; conforming to IS 3043:1987 (Code of Practice for Earthing), along with minimum 50kg of soil- friendly, moisture retaining back fill compound. Calibration certificate of earthing tester not exceeding six months and Earthing test report to be submitted to site in charge.Scope also includes necesary civil work for chamber, excavation & backfilling as per site condition and also supply chamber cover. | Nos | 4
360 | Providing & laying Copper conductor, PVC insulated external and internal sheath armored cable, grade 1100 volts ion underground system, including connection at both ends.
| (a)- do - as item no. 360 but cable size 4 x 16 Sq mm. AL. conductor | RM | 800
| (b)- do -as item no.360 but 4 x 4 sq mm copper conductor | RM | 350
| (c)- do -as item no.360 but 3.5 x 35sq mm Aiuminium armoured conductor. | RM | 200
| (c)- do -as item no.360 but 3.5 x 185 sq mm Aiuminium armoured conductor. | RM | 150
360 | Supply & installation of electrical distribution board flush type indoor enclosure, hinged front cover, dust & vermin proof, fabricated out of 14 G mild steel sheets complete with switchgear given below and interconnection,mouonted on angle iron frame grouted on wall.
| -Do- TPN DB 4 way per phase with for office. | No | 6
Incoming
63 Amp 4 pole 30 mA sensitivity RCCB -1 No.
Outgoing
16 A SP MCB - 3 No.
10 A SPN MCB - 8 Nos. Light
20 A SP MCB - G 1 Nos. A.C.
370 | -Do- TPN DB 4 way per phase with for office. | No | 1
Incoming
40 Amp 4 pole 30 mA sensitivity RCCB -1 No.
Outgoing
16 A SP MCB - 3 No.
10 A SPN MCB - 8 Nos. Light
20 A SP MCB - G 1 Nos. A.C.
380 | -do- but 8 way SPN DB | No | 1
Incoming
25 A DP RCCB 100 mA sensitivity
1 No.
Outgoing
6 A SP MCB - 1 Nos.
10 A SP MCB - 4 Nos.
20 A SP MCB - 1 Nos.
400 | Main panel for lighting | No | 1
Supply, installation & commissioning of MCB type electrical distribution board : flush type, indoor enclosure, hinged front cover, dust & vermin proof, fabricated out of 16 G mild steel sheets, along with powder coating painting, and complete with switchge as given below with interconnection. All MCB & RCCB / ELCB shall be of minimum 10 KA rupturing capacity. RCCB / ELCB shall have sensitivity of 300 MA. - 8 way V- TPN Double door, IP 43, Incomer, : 100 Amp, MCCB, 3 ph +N, Out Going: 4 pole MCB of 63 Amp , 16KA, 5 nos. + 40Amp, 1 nos
410 | Supply and installation of MCCB in powder coated MCCB MS Box on suitable angle iron frame grouted on wall INCLUDING cable End box as required as under.
| (a) 100A, 25 KA TPN | Nos. | 1
420 | Supply & laying of 6 sq.mm. Cu FRLS flex. Wire Green Colour in existing pipe / in ground / on cable tray (work include termination at both ends) | RM | 300
430 | Providing & fixing 4 module MCB enclosure, M.S. powder coated with 1 nos. 20A 3 Pole to 32A 3Pole MCB, "C" curve. | Nos. | 3
440 | Providing & fixing 4 module MCB enclosure, M.S. powder coated with 4 nos. 6A single Pole MCB, "C" curve. | Nos. | 8
450 | Providing & fixing of FRP sintex make street light pole junction box of size 250mmx20mmx100mm, IP 65 with 4 nos. 6A single Pole MCB, "C" curve and bakelite connector. | Nos. | 2
470 | Supply and Installation of (50 X 50 X MM) GI Box Pipe, fixing with bolts / clamps duly painted as directed. | Mtr | 150
480 | Fabricating and fixing structural sections comprising MS Channel, Angle, Pipe, Hollow Sections of any size for support of Plant fittings, including cutting, welding, clamping, with all wastge, etc., two coats of red oxide and two coats of synthetic enamel paint with all scaffolding and labour, etc. all complete as directed. (Only labor part) | KG | 350
490 | Caution boards of size 150 x 150 mm. to be supplied & fixed on the D.B. | No. | 10
500 | Caution boards of size 100 x 100 mm. to be supplied & fixed on the D.B. | No. | 15
510 | Supplying & Erecting Rubber mat 11 kv As per latest IS 15652 | No. | 2
Total of Internal Electrification work
ELV system
670 | Telephone point wiring with 2 pair unarmoured PVC insulated and sheath 0.61 mm dia.annealed tinned copper conductor in 19 mm dia.16 SWG surface / concealed conduit system including providing and fixing one No. flush type RJ-11 telephone socket outlet in MS box with modular cover plate.(Average length considered 15M) | Nos | 6
680 | Providing and fixing KRONE type telephone tag block in MS box with MS sheet hinged cover, suitable for (a)10 pairs. | Nos | 1
| (a) 20 pairs | Nos | 1
690 | Providing & laying Jelly filled armoured PVC insulated and sheath 0.61 mm dia annealed tinned copper conductor in 19 mm dia. 16 SWG surface/concealed conduct system including providing and fixing one no. flush type 2 pin telephone socket outlet in MS box with 3 mm thick hylam sheet cover.
| (b) 20 pair armoured telephone cable. | RM | 150
700 | Providing & fixing / laying multi-pair telephone cable, connections at both ends with ferrules. (In existing conduit) - Telephone cable size – 2 pair. | RM | 3000
710 | SITC of analog PushButton Phones at workstations | No | 6
720 | Providing & laying Wires for computer / points with CAT – 6, 4 pair copper conductor UTP cable in existing conduit/raceways as required. (Rate include for work of wire termination) | RM | 400
730 | Providing & fixing of a single computer data flush type RJ 45 grid plate for computer networking system. | No | 6
740 | CAT6 UTP RJ-45/RJ-45 Patch Cords Solid Conductor 3ft | No | 6
750 | CAT6 UTP RJ-45/RJ-45 Patch Cords Solid Conductor 7ft | No | 6
760 | Supply, Installation, Testing &Commissioning of 1 Gigabit SFPLCGBIC module. for L2 AccessSwitch | No | 2
770 | Supply, Installation, Testing &Commissioning of L2 features Switch: 4 Ports SFP. Stackable Feature with warranty & NBD.Inclsv. Mounting hardware & Standard accessories. – AccessSwitch | No | 1
780 | Supply, Installation, Testing and Commissioning of Layer 2/3 manageable switch, 24 x 10/100/100Mbps 802.3a/f PoE ports, auto MDI/MDX, auto-sensing, supporting minimum 2 nos. 1000Mbps Copper or ofc shared ports for uplinks. | No | 1
790 | Supply, Installation, Testing and Commissioning of 802.11a/b/g/n supporting wireless access points for indoor use, inclusive of power supplies. | No | 1
800 | Supply, Installation, Testing and Commissioning of Media Convertor - MM OFC to UTP 1000Base Tx, LC termination supporting 300mtrs Mtrs minimum | No | 2
810 | Supply, Installation, Testing and Commissioning of Additional Expansion Module to connect with the main Exisiting EPABX system | No | 1
820 | Supply and Installation of 19U Wall Mounted Networking Enclosure as per specification and complete with all accessories. (45.87 x 26.61 x 18.98 Inch) - Networking Rack | No | 1
840 | Supplying and Laying outdoor six core single mode fiber optic cable for outdoor connectivity required in conduits / RCC hume pipes/HDPE/DWC. | Mtr | 250
850 | Supply, Installation, Testing & Commissioning/Termination of Rack mounted LIU for optical splicing/termination of 6 cores of single mode mode fiber optic cable as per design specifications. It shall be complete with adaptor panels, adaptors for using LC type termination. Masking/blanking/dustcover for unused/unmounted adaptor ports, inclusive of all mechanical accessories. | No | 2
860 | Supply, Installation, Testing and Commissioning of LC-LC single mode duplex fiber optic patch cord 2mtr as per tender specification. | No | 6
870 | Supply, Installation, Testing and Commissioning of LC type single mode pre- terminated pigtail 2mtr as per tender specification. | No | 12
890 | Supply, Installation, Testing and Commissioning of LC type couplers for high density termination, singlemode | No | 10
900 | Splicing / Termination of Fiber Optic Fiber Cable Cores using Fusion splicing with pre-terminated LC pigtails, dressing and proper fixing into rolosplice trays. (6 core at one end=1 job) | Job work | 4
910 | Providing & laying spare concealed or surface 25 mm dia 1.9 mm thick rigid PVC FIA conduits for power wiring complete with accessories and draw out boxes and their covers. | RM | 300
Total of ELV System
Video Surveillance / CCTV System
920 | SITC of 2 MP IR PTZ IP CAMERA ,Equivalent to Hik-vision DS-2CD1021-IDS- 2DE7232IW-AE High Definition Network Cameras, indoor/outdoor PTZ type, high speed dome, 360 degrees full rotation, complete with IP10/IK10 rated vandal proof housing and Power on Ethernet (PoE). | No | 10
930 | SITC of 2 MP 4MM IR BULLET IP CAMERA (30 MTR RANGE) complete with housing and Power on Ethernet (PoE) Equivalent to Hik-vision DS-2CD1021-I | No | 10
940 | SITC of 2 MP 4MM IR DOME IP CAMERA (30 MTR RANGE Equivalent to Hik- vision DS-2CD1121-I | No | 5
950 | Supply, Installation, Testing and Commissioning of 32 CHANNEL NVR ,Equivalent to Hik-vision DS-7632NI-E2 | No | 1
960 | Supply, Installation, Testing and Commissioning of 6TB SURVEILLANCE HDD for 24 x 7 x 7 days ,Make: SEAGATE | No | 2
970 | UTP CAT6 cabling for transmission of high end video and audio. - Supply and laying of specified make UTP CAT6 cable in prelaid PVC conduits / pipes / raceway, but without the cost of raceway or pipe. (The cable is to be drawn from individual workstation/device/desktop area to the central communications/server room. Terminations to be carried out in any intermediate wiring closets/telecom closets by way of racks/MDF/IDF). | Rmtr | 300
980 | SITC of 8-PORTS 10/100/1000 BASE-T PoE SMART SWITCH PLUS 2 COMBO 1000 Base-T/SFP PORTS,Make:NETGEAR GS110TP | No | 1
990 | SITC of 24-PORTS 10/100/1000 BASE-T PoE SMART SWITCH PLUS 4 COMBO 1000 Base-T/SFP PORTS,Make:NETGEAR GS728TP | No | 1
1000 | SITC of 12 PORT LOADED LIU (LC-LC),Make: Dlink | No | 1
1010 | CAT6 UTP RJ-45/RJ-45 Patch Cords Solid Conductor 3ft | No | 10
1020 | FIBER PATCH CORD LC-LC DUPLEX LENGTH-3 MTR | No | 6
1030 | 1-PORT MINI-GBIC LX SINGLE-MODE FIBER TRANSCEIVER (UPTO 10KM, SUPPORT 3.3V POWER,Make:D -link DEM-310GT | No | 2
1040 | 9U WALLMOUNT NETWORK RACK with power strip,Make: ELIXIR/WALLRACK | No | 1
1050 | 12U WALLMOUNT NETWORK RACK,Make: ELIXIR/WALLRACK | No | 1
1060 | Supply and Installation of Single UTP CAT6 RJ-45 I/O of specified make including faceplate and MS backbox assembly, inclusive of termination of CAT6 cable at each IO at workstation area / device / desktop / or at a patch panel inside a rack. | No | 10
1070 | Smart Display for the Monitoring, High Definition format and supporting HDMI 2.x interface capability, 32" wide minimum. | No | 1
Total of CCTV Camera
TOTAL AMOUNT FOR IE WORKS
14 | Providing statutory clerance including submission of document, getting NOC from revlevant government department, all expenses, fees etc all completed as directed by Engineer Incharge for the following clerance | Lot | 1
1. Layout approval from MCD
2. NOC from Delhi Jal Board
3. NOC from CIF
4. NOC from DFS (Delhi Fire Safety)
5. NOC From DPCC (Delhi Polution Control)
Note: IDMC will assist only with the documentation process. All statutory approvals will remain the responsibility of the civil work agency.
Note2: The aforementioned NOCs are not exhaustive. Any additional NOCs required must be arranged by the civil work agency for Electrical, Factory inspector etc.
SUB TOTAL (Excl.GST)
Add GST @ 18%
TOTAL AMOUNT